**Request for Proposals**

**Fire Station Flooring**

Gilford Fire-Rescue Department is requesting proposals for new, commercial-grade, luxury vinyl flooring to be installed throughout the Administrative Wing and in the Kitchen/Dayroom area at 39 Cherry Valley Rd, Gilford New Hampshire. Proposals submitted by the contractor must be specific in terms of method of installation and specification of materials used. All vendor/dealer contact information must be included, along with an anticipated start and completion date. Gilford Fire-Rescue will thoroughly review each proposal submitted and reserves the right to select or reject any proposal regardless of price.

***General Scope:***

This scope of work for this project will consist of removal and replacement of the existing tile and carpeting in the Administrative Wing and Kitchen/Day Room areas at the Fire Station. Work includes rip up and removal of the current flooring. The Town shall supply a dumpster for building demo materials that will be disposed of at no cost to the contractor or Fire Department. New commercial grade LVT, underlay material, and cove molding to be installed.

***Required Specifications:***

Detailed explanation of surface preparation, installation, and materials (min 20 mil LVT) used is required. The customer will choose design and color.

***RFP Advertisement***

* Gilford Fire-Rescue is accepting proposals for replacement of the exterior vinyl siding (and associated work) on the fire station. Proposals will be accepted until May 17, 2022 at 0830 hrs, when they will be opened. The proposal should be addressed to or dropped off at Gilford Fire-Rescue, 39 Cherry Valley Road, Gilford, NH, 03249. It may also be e-mailed to: [scarrier@gilfordnh.org](mailto:scarrier@gilfordnh.org). The notice of award will take place on May 26.